## Export
| Batch | SampleID | IS_Recovery | Cotinine Conc. (ng/mL) | Cotinine in Urine (ng cotinine / mL urine)
5 | Cotinine 100uL Template Test Data | S1 | 25.2774 | 53.9005 | 1078.0098
6 | Cotinine 100uL Template Test Data | S2 | 32.3167 | 60.0942 | 1201.8849
7 | Cotinine 100uL Template Test Data | S3 | 36.0452 | 68.8959 | 1377.9183
8 | Cotinine 100uL Template Test Data | S4 | 29.6799 | 50.019 | 1000.3796
9 | Cotinine 100uL Template Test Data | S5 | 29.1761 | 46.4918 | 929.8364
10 | Cotinine 100uL Template Test Data | S6 | 32.758 | 42.7221 | 854.4428
11 | Cotinine 100uL Template Test Data | S7 | 26.8565 | 84.78 | 1695.5998
12 | Cotinine 100uL Template Test Data | S8 | 35.753 | 61.7028 | 1234.0555
13 | Cotinine 100uL Template Test Data | S9 | 36.4385 | 118.3515 | 2367.0298
14 | Cotinine 100uL Template Test Data | S10 | 34.9818 | 208.8258 | 4176.5167

## Comparison
| Batch | SampleID | IS_Recovery | Measured_TC_Conc_Corrected | Cotinine in Urine (ng cotinine / mL urine) | Measured_TC_Conc_Uncorrected | Percent_Difference | Measured_TC_Conc_MassHunter
5 | Cotinine 100uL Template Test Data | S6 | 32.758 | 42.7221 | 854.4428 | 42.2274 | 1.1715 | 42.2274
4 | Cotinine 100uL Template Test Data | S5 | 29.1761 | 46.4918 | 929.8364 | 46.0168 | 1.0323 | 46.0168
3 | Cotinine 100uL Template Test Data | S4 | 29.6799 | 50.019 | 1000.3796 | 49.5624 | 0.92131 | 49.5624
0 | Cotinine 100uL Template Test Data | S1 | 25.2774 | 53.9005 | 1078.0098 | 53.4641 | 0.8162 | 53.4641
1 | Cotinine 100uL Template Test Data | S2 | 32.3167 | 60.0942 | 1201.8849 | 59.6902 | 0.67693 | 59.6902
7 | Cotinine 100uL Template Test Data | S8 | 35.753 | 61.7028 | 1234.0555 | 61.3071 | 0.64539 | 61.3071
2 | Cotinine 100uL Template Test Data | S3 | 36.0452 | 68.8959 | 1377.9183 | 68.5378 | 0.52254 | 68.5378
6 | Cotinine 100uL Template Test Data | S7 | 26.8565 | 84.78 | 1695.5998 | 84.5047 | 0.32574 | 84.5047
9 | Cotinine 100uL Template Test Data | S10 | 34.9818 | 208.8258 | 4176.5167 | 209.1977 | 0.17778 | 209.1977
8 | Cotinine 100uL Template Test Data | S9 | 36.4385 | 118.3515 | 2367.0298 | 118.2514 | 0.084667 | 118.2514

## Corrected_Samples
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery | Set
5 | S1 | 9663.3632 | 3563.9127 | 2.7114 | 53.9005 | 10.7801 | 25.2774 | Set 2
6 | S2 | 13810.4869 | 4556.3901 | 3.031 | 60.0942 | 12.0188 | 32.3167 | Set 2
7 | S3 | 17711.762 | 5082.0838 | 3.4851 | 68.8959 | 13.7792 | 36.0452 | Set 2
8 | S4 | 10508.3293 | 4184.616 | 2.5112 | 50.019 | 10.0038 | 29.6799 | Set 2
9 | S5 | 9581.3814 | 4113.5983 | 2.3292 | 46.4918 | 9.2984 | 29.1761 | Set 2
10 | S6 | 9859.3375 | 4618.605 | 2.1347 | 42.7221 | 8.5444 | 32.758 | Set 2
11 | S7 | 16299.8833 | 3786.5516 | 4.3047 | 84.78 | 16.956 | 26.8565 | Set 2
12 | S8 | 15697.3171 | 5040.8737 | 3.114 | 61.7028 | 12.3406 | 35.753 | Set 2
13 | S9 | 31014.2426 | 5137.5295 | 6.0368 | 118.3515 | 23.6703 | 36.4385 | Set 2
14 | S10 | 52797.8508 | 4932.1523 | 10.7048 | 208.8258 | 41.7652 | 34.9818 | Set 2

## Corrected_Calibration
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
2 | 0.1 ppb Cal Std | 68.9191 | 13549.7203 | 0.1 | 0.0050864 | 0.02 | 0.08789 | 112.11 | Set 1
3 | 0.5 ppb Cal Std | 332.8324 | 13512.1681 | 0.5 | 0.024632 | 0.1 | 0.50471 | 99.0577 | Set 1
4 | 1.0 ppb Cal Std | 733.8772 | 15140.4872 | 1 | 0.048471 | 0.2 | 1.0131 | 98.6906 | Set 1
15 | 2.5 ppb Cal Std rep 2 | 1680.2668 | 14248.2016 | 2.5 | 0.11793 | 0.5 | 2.4943 | 100.2278 | Set 1
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
16 | 5.0 ppb Cal Std | 3185.1922 | 13239.9364 | 5 | 0.24057 | 1 | 6.0108 | 79.7848 | Set 2
17 | 10 ppb Cal Std | 7052.6151 | 14632.1544 | 10 | 0.48199 | 2 | 10.6899 | 93.1011 | Set 2
18 | 25 ppb Cal Std | 17793.7337 | 14595.1026 | 25 | 1.2192 | 5 | 24.9774 | 100.0905 | Set 2
19 | 50 ppb Cal Std | 34777.8304 | 14137.3514 | 50 | 2.46 | 10 | 49.0269 | 101.9461 | Set 2
20 | 100 ppb Cal Std | 71412.4566 | 14288.2531 | 100 | 4.998 | 20 | 98.2174 | 101.7826 | Set 2
21 | 200 ppb Cal Std | 141202.9313 | 13702.2916 | 200 | 10.3051 | 40 | 201.0776 | 99.4612 | Set 2

## Uncorrected_Data
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%)
2 | 0.1 ppb Cal Std | 68.9191 | 13549.7203 | 0.1 | 0.0050864 | 0.02 | 0.73656 | 536.5624
3 | 0.5 ppb Cal Std | 332.8324 | 13512.1681 | 0.5 | 0.024632 | 0.1 | 1.1174 | 23.4734
4 | 1.0 ppb Cal Std | 733.8772 | 15140.4872 | 1 | 0.048471 | 0.2 | 1.5818 | 41.818
15 | 2.5 ppb Cal Std rep 2 | 1680.2668 | 14248.2016 | 2.5 | 0.11793 | 0.5 | 2.935 | 82.5983
16 | 5.0 ppb Cal Std | 3185.1922 | 13239.9364 | 5 | 0.24057 | 1 | 5.3245 | 93.5093
17 | 10 ppb Cal Std | 7052.6151 | 14632.1544 | 10 | 0.48199 | 2 | 10.0281 | 99.7193
18 | 25 ppb Cal Std | 17793.7337 | 14595.1026 | 25 | 1.2192 | 5 | 24.3901 | 102.4396
19 | 50 ppb Cal Std | 34777.8304 | 14137.3514 | 50 | 2.46 | 10 | 48.5651 | 102.8697
20 | 100 ppb Cal Std | 71412.4566 | 14288.2531 | 100 | 4.998 | 20 | 98.0123 | 101.9877
21 | 200 ppb Cal Std | 141202.9313 | 13702.2916 | 200 | 10.3051 | 40 | 201.4091 | 99.2955
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery
5 | S1 | 9663.3632 | 3563.9127 | 2.7114 | 53.4641 | 10.6928 | 25.2678
6 | S2 | 13810.4869 | 4556.3901 | 3.031 | 59.6902 | 11.938 | 32.3044
7 | S3 | 17711.762 | 5082.0838 | 3.4851 | 68.5378 | 13.7076 | 36.0315
8 | S4 | 10508.3293 | 4184.616 | 2.5112 | 49.5624 | 9.9125 | 29.6685
9 | S5 | 9581.3814 | 4113.5983 | 2.3292 | 46.0168 | 9.2034 | 29.165
10 | S6 | 9859.3375 | 4618.605 | 2.1347 | 42.2274 | 8.4455 | 32.7455
11 | S7 | 16299.8833 | 3786.5516 | 4.3047 | 84.5047 | 16.9009 | 26.8463
12 | S8 | 15697.3171 | 5040.8737 | 3.114 | 61.3071 | 12.2614 | 35.7393
13 | S9 | 31014.2426 | 5137.5295 | 6.0368 | 118.2514 | 23.6503 | 36.4246
14 | S10 | 52797.8508 | 4932.1523 | 10.7048 | 209.1977 | 41.8395 | 34.9685