## Export
| Batch | SampleID | IS_Recovery | Cotinine Conc. (ng/mL)
5 | Cotinine 2 mL Template Test Data | S1 | 31.3658 | 47.3481
6 | Cotinine 2 mL Template Test Data | S2 | 29.0637 | 31.1469
7 | Cotinine 2 mL Template Test Data | S3 | 24.3578 | 58.4995
8 | Cotinine 2 mL Template Test Data | S4 | 30.2195 | 143.0689
9 | Cotinine 2 mL Template Test Data | S5 | 27.3869 | 392.5154
10 | Cotinine 2 mL Template Test Data | S6 | 25.8447 | 0.13255
11 | Cotinine 2 mL Template Test Data | S7 | 27.662 | 0.12151
12 | Cotinine 2 mL Template Test Data | S8 | 28.553 | 0.24792
13 | Cotinine 2 mL Template Test Data | S9 | 29.7464 | 163.0292
14 | Cotinine 2 mL Template Test Data | S10 | 25.615 | 0.31179
15 | Cotinine 2 mL Template Test Data | S11 | 21.7602 | 0.12811
16 | Cotinine 2 mL Template Test Data | S12 | 28.646 | 897.4349
17 | Cotinine 2 mL Template Test Data | S13 | 26.9592 | 170.4208
18 | Cotinine 2 mL Template Test Data | S14 | 28.8297 | 0.27648
19 | Cotinine 2 mL Template Test Data | S15 | 37.9759 | 0.11175
20 | Cotinine 2 mL Template Test Data | S16 | 28.0812 | 198.1314
21 | Cotinine 2 mL Template Test Data | S17 | 35.7392 | 0.09461
22 | Cotinine 2 mL Template Test Data | S18 | 27.6803 | 1.1515
23 | Cotinine 2 mL Template Test Data | S19 | 35.3204 | 108.1082
24 | Cotinine 2 mL Template Test Data | S20 | 27.049 | 245.4421
25 | Cotinine 2 mL Template Test Data | S21 | 27.3386 | 57.5246
26 | Cotinine 2 mL Template Test Data | S22 | 29.3914 | 27.8611
27 | Cotinine 2 mL Template Test Data | S23 | 25.7164 | 418.4338
28 | Cotinine 2 mL Template Test Data | S24 | 18.505 | 965.5227
29 | Cotinine 2 mL Template Test Data | S25 | 36.0501 | 8.0462
30 | Cotinine 2 mL Template Test Data | S26 | 34.537 | 0.22846
31 | Cotinine 2 mL Template Test Data | S27 | 27.1358 | 3.5902
32 | Cotinine 2 mL Template Test Data | S28 | 34.0668 | 6.3629
33 | Cotinine 2 mL Template Test Data | S29 | 35.0261 | 144.3187
34 | Cotinine 2 mL Template Test Data | S30 | 29.1544 | 206.1641
35 | Cotinine 2 mL Template Test Data | S31 | 27.2069 | 23.4196
36 | Cotinine 2 mL Template Test Data | S32 | 29.32 | 13.1632
37 | Cotinine 2 mL Template Test Data | S33 | 37.1975 | 17.022
38 | Cotinine 2 mL Template Test Data | S34 | 33.0038 | 95.6583
39 | Cotinine 2 mL Template Test Data | S35 | 43.2686 | 45.5328
40 | Cotinine 2 mL Template Test Data | S36 | 29.1592 | 30.6346
41 | Cotinine 2 mL Template Test Data | S37 | 28.5568 | 14.867
42 | Cotinine 2 mL Template Test Data | S38 | 36.2187 | 116.2653
43 | Cotinine 2 mL Template Test Data | S39 | 31.2469 | 1.2827
44 | Cotinine 2 mL Template Test Data | S40 | 28.9522 | 74.305
46 | Cotinine 2 mL Template Test Data | S41 | 35.8082 | 36.8201
47 | Cotinine 2 mL Template Test Data | S42 | 31.8285 | 28.6852
48 | Cotinine 2 mL Template Test Data | S43 | 35.4392 | 23.8808
49 | Cotinine 2 mL Template Test Data | S44 | 26.6414 | 31.4383
50 | Cotinine 2 mL Template Test Data | S45 | 31.8049 | 53.3602
51 | Cotinine 2 mL Template Test Data | S46 | 26.0274 | 318.9662
52 | Cotinine 2 mL Template Test Data | S47 | 23.8762 | 193.373
53 | Cotinine 2 mL Template Test Data | S48 | 29.003 | 48.7688
54 | Cotinine 2 mL Template Test Data | S49 | 29.8189 | 4.1878
55 | Cotinine 2 mL Template Test Data | S50 | 29.5555 | 58.9887
56 | Cotinine 2 mL Template Test Data | S51 | 34.1104 | 0.088811
57 | Cotinine 2 mL Template Test Data | S52 | 36.126 | 0.63647
58 | Cotinine 2 mL Template Test Data | S53 | 26.147 | 0.48681
59 | Cotinine 2 mL Template Test Data | S54 | 25.0257 | 0.95025
60 | Cotinine 2 mL Template Test Data | S55 | 27.5135 | 1.0812
61 | Cotinine 2 mL Template Test Data | S56 | 30.8582 | 1.8743
62 | Cotinine 2 mL Template Test Data | S57 | 26.9911 | 122.0955
63 | Cotinine 2 mL Template Test Data | S58 | 28.2396 | 32.0603
64 | Cotinine 2 mL Template Test Data | S59 | 36.1221 | 1.8259
65 | Cotinine 2 mL Template Test Data | S60 | 33.2567 | 2.1464
66 | Cotinine 2 mL Template Test Data | S61 | 27.8865 | 0.74429
67 | Cotinine 2 mL Template Test Data | S62 | 27.6656 | 4.2997
68 | Cotinine 2 mL Template Test Data | B1 | 32.9406 | 0
69 | Cotinine 2 mL Template Test Data | B2 | 36.9565 | 0
70 | Cotinine 2 mL Template Test Data | B3 | 36.6103 | 0
71 | Cotinine 2 mL Template Test Data | B4 | 35.9585 | 0
72 | Cotinine 2 mL Template Test Data | B5 | 41.2383 | 0

## Comparison
| Batch | SampleID | IS_Recovery | Measured_TC_Conc_Corrected | Measured_TC_Conc_Uncorrected | Percent_Difference | Measured_TC_Conc_MassHunter
50 | Cotinine 2 mL Template Test Data | S51 | 34.1104 | 0.088811 | 0.61969 | 85.6684 | 0.61969
16 | Cotinine 2 mL Template Test Data | S17 | 35.7392 | 0.09461 | 0.62511 | 84.8652 | 0.62511
14 | Cotinine 2 mL Template Test Data | S15 | 37.9759 | 0.11175 | 0.64115 | 82.5699 | 0.64115
6 | Cotinine 2 mL Template Test Data | S7 | 27.662 | 0.12151 | 0.65028 | 81.3141 | 0.65028
10 | Cotinine 2 mL Template Test Data | S11 | 21.7602 | 0.12811 | 0.65646 | 80.4848 | 0.65646
5 | Cotinine 2 mL Template Test Data | S6 | 25.8447 | 0.13255 | 0.66061 | 79.9351 | 0.66061
25 | Cotinine 2 mL Template Test Data | S26 | 34.537 | 0.22846 | 0.75034 | 69.5529 | 0.75034
7 | Cotinine 2 mL Template Test Data | S8 | 28.553 | 0.24792 | 0.76855 | 67.7417 | 0.76855
13 | Cotinine 2 mL Template Test Data | S14 | 28.8297 | 0.27648 | 0.79527 | 65.2345 | 0.79527
9 | Cotinine 2 mL Template Test Data | S10 | 25.615 | 0.31179 | 0.82831 | 62.358 | 0.82831
52 | Cotinine 2 mL Template Test Data | S53 | 26.147 | 0.48681 | 0.99206 | 50.9292 | 0.99206
51 | Cotinine 2 mL Template Test Data | S52 | 36.126 | 0.63647 | 1.1321 | 43.7785 | 1.1321
60 | Cotinine 2 mL Template Test Data | S61 | 27.8865 | 0.74429 | 1.233 | 39.6335 | 1.233
53 | Cotinine 2 mL Template Test Data | S54 | 25.0257 | 0.95025 | 1.4257 | 33.3461 | 1.4257
54 | Cotinine 2 mL Template Test Data | S55 | 27.5135 | 1.0812 | 1.5482 | 30.1618 | 1.5482
17 | Cotinine 2 mL Template Test Data | S18 | 27.6803 | 1.1515 | 1.6139 | 28.6536 | 1.6139
38 | Cotinine 2 mL Template Test Data | S39 | 31.2469 | 1.2827 | 1.7367 | 26.1406 | 1.7367
26 | Cotinine 2 mL Template Test Data | S27 | 27.1358 | 3.5902 | 2.8967 | 23.9416 | 2.8967
48 | Cotinine 2 mL Template Test Data | S49 | 29.8189 | 4.1878 | 3.4974 | 19.7415 | 3.4974
61 | Cotinine 2 mL Template Test Data | S62 | 27.6656 | 4.2997 | 3.6098 | 19.1105 | 3.6098
58 | Cotinine 2 mL Template Test Data | S59 | 36.1221 | 1.8259 | 2.2449 | 18.6652 | 2.2449
55 | Cotinine 2 mL Template Test Data | S56 | 30.8582 | 1.8743 | 2.2902 | 18.1596 | 2.2902
59 | Cotinine 2 mL Template Test Data | S60 | 33.2567 | 2.1464 | 2.5447 | 15.6547 | 2.5447
27 | Cotinine 2 mL Template Test Data | S28 | 34.0668 | 6.3629 | 5.6837 | 11.95 | 5.6837
24 | Cotinine 2 mL Template Test Data | S25 | 36.0501 | 8.0462 | 7.3757 | 9.0907 | 7.3757
31 | Cotinine 2 mL Template Test Data | S32 | 29.32 | 13.1632 | 12.5191 | 5.1447 | 12.5191
36 | Cotinine 2 mL Template Test Data | S37 | 28.5568 | 14.867 | 14.2317 | 4.4638 | 14.2317
32 | Cotinine 2 mL Template Test Data | S33 | 37.1975 | 17.022 | 16.3978 | 3.8062 | 16.3978
30 | Cotinine 2 mL Template Test Data | S31 | 27.2069 | 23.4196 | 22.8285 | 2.5893 | 22.8285
42 | Cotinine 2 mL Template Test Data | S43 | 35.4392 | 23.8808 | 23.2921 | 2.5275 | 23.2921
21 | Cotinine 2 mL Template Test Data | S22 | 29.3914 | 27.8611 | 27.293 | 2.0817 | 27.293
41 | Cotinine 2 mL Template Test Data | S42 | 31.8285 | 28.6852 | 28.1213 | 2.0052 | 28.1213
35 | Cotinine 2 mL Template Test Data | S36 | 29.1592 | 30.6346 | 30.0808 | 1.8411 | 30.0808
1 | Cotinine 2 mL Template Test Data | S2 | 29.0637 | 31.1469 | 30.5957 | 1.8015 | 30.5957
43 | Cotinine 2 mL Template Test Data | S44 | 26.6414 | 31.4383 | 30.8886 | 1.7795 | 30.8886
57 | Cotinine 2 mL Template Test Data | S58 | 28.2396 | 32.0603 | 31.5138 | 1.734 | 31.5138
40 | Cotinine 2 mL Template Test Data | S41 | 35.8082 | 36.8201 | 36.2982 | 1.4378 | 36.2982
34 | Cotinine 2 mL Template Test Data | S35 | 43.2686 | 45.5328 | 45.0559 | 1.0584 | 45.0559
0 | Cotinine 2 mL Template Test Data | S1 | 31.3658 | 47.3481 | 46.8806 | 0.99721 | 46.8806
47 | Cotinine 2 mL Template Test Data | S48 | 29.003 | 48.7688 | 48.3086 | 0.95254 | 48.3086
44 | Cotinine 2 mL Template Test Data | S45 | 31.8049 | 53.3602 | 52.9237 | 0.82467 | 52.9237
20 | Cotinine 2 mL Template Test Data | S21 | 27.3386 | 57.5246 | 57.1097 | 0.72656 | 57.1097
2 | Cotinine 2 mL Template Test Data | S3 | 24.3578 | 58.4995 | 58.0896 | 0.70563 | 58.0896
49 | Cotinine 2 mL Template Test Data | S50 | 29.5555 | 58.9887 | 58.5813 | 0.6954 | 58.5813
39 | Cotinine 2 mL Template Test Data | S40 | 28.9522 | 74.305 | 73.9767 | 0.44373 | 73.9767
23 | Cotinine 2 mL Template Test Data | S24 | 18.505 | 965.5227 | 969.7978 | 0.44082 | 969.7978
11 | Cotinine 2 mL Template Test Data | S12 | 28.646 | 897.4349 | 901.3583 | 0.43528 | 901.3583
22 | Cotinine 2 mL Template Test Data | S23 | 25.7164 | 418.4338 | 419.8831 | 0.34516 | 419.8831
4 | Cotinine 2 mL Template Test Data | S5 | 27.3869 | 392.5154 | 393.8308 | 0.334 | 393.8308
45 | Cotinine 2 mL Template Test Data | S46 | 26.0274 | 318.9662 | 319.9017 | 0.29243 | 319.9017
33 | Cotinine 2 mL Template Test Data | S34 | 33.0038 | 95.6583 | 95.4404 | 0.22838 | 95.4404
19 | Cotinine 2 mL Template Test Data | S20 | 27.049 | 245.4421 | 245.9978 | 0.2259 | 245.9978
29 | Cotinine 2 mL Template Test Data | S30 | 29.1544 | 206.1641 | 206.5169 | 0.17085 | 206.5169
15 | Cotinine 2 mL Template Test Data | S16 | 28.0812 | 198.1314 | 198.4428 | 0.15689 | 198.4428
46 | Cotinine 2 mL Template Test Data | S47 | 23.8762 | 193.373 | 193.6597 | 0.14807 | 193.6597
18 | Cotinine 2 mL Template Test Data | S19 | 35.3204 | 108.1082 | 107.9545 | 0.14234 | 107.9545
12 | Cotinine 2 mL Template Test Data | S13 | 26.9592 | 170.4208 | 170.589 | 0.098601 | 170.589
37 | Cotinine 2 mL Template Test Data | S38 | 36.2187 | 116.2653 | 116.1538 | 0.096015 | 116.1538
8 | Cotinine 2 mL Template Test Data | S9 | 29.7464 | 163.0292 | 163.1593 | 0.079691 | 163.1593
56 | Cotinine 2 mL Template Test Data | S57 | 26.9911 | 122.0955 | 122.0141 | 0.066722 | 122.0141
28 | Cotinine 2 mL Template Test Data | S29 | 35.0261 | 144.3187 | 144.3521 | 0.023123 | 144.3521
3 | Cotinine 2 mL Template Test Data | S4 | 30.2195 | 143.0689 | 143.0958 | 0.018814 | 143.0958
62 | Cotinine 2 mL Template Test Data | B1 | 32.9406 | 0 | 0 |  | 0
63 | Cotinine 2 mL Template Test Data | B2 | 36.9565 | 0 | 0 |  | 0
64 | Cotinine 2 mL Template Test Data | B3 | 36.6103 | 0 | 0 |  | 0
65 | Cotinine 2 mL Template Test Data | B4 | 35.9585 | 0 | 0 |  | 0
66 | Cotinine 2 mL Template Test Data | B5 | 41.2383 | 0 | 0 |  | 0

## Corrected_Samples
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery | Set
10 | S6 | 21.9962 | 3563.1721 | 0.0061732 | 0.13255 | 0.02651 | 25.8447 | Set 1
11 | S7 | 21.5231 | 3813.7258 | 0.0056436 | 0.12151 | 0.024302 | 27.662 | Set 1
12 | S8 | 46.0897 | 3936.5598 | 0.011708 | 0.24792 | 0.049584 | 28.553 | Set 1
14 | S10 | 52.1684 | 3531.5089 | 0.014772 | 0.31179 | 0.062359 | 25.615 | Set 1
15 | S11 | 17.8806 | 3000.0467 | 0.0059601 | 0.12811 | 0.025622 | 21.7602 | Set 1
18 | S14 | 51.9821 | 3974.7177 | 0.013078 | 0.27648 | 0.055296 | 28.8297 | Set 1
19 | S15 | 27.0971 | 5235.6827 | 0.0051755 | 0.11175 | 0.022351 | 37.9759 | Set 1
21 | S17 | 21.4486 | 4927.3176 | 0.004353 | 0.09461 | 0.018922 | 35.7392 | Set 1
22 | S18 | 210.1036 | 3816.2438 | 0.055055 | 1.1515 | 0.23029 | 27.6803 | Set 1
30 | S26 | 51.3025 | 4761.5778 | 0.010774 | 0.22846 | 0.045691 | 34.537 | Set 1
43 | S39 | 264.3048 | 4307.9686 | 0.061353 | 1.2827 | 0.25655 | 31.2469 | Set 1
56 | S51 | 19.1628 | 4702.7589 | 0.0040748 | 0.088811 | 0.017762 | 34.1104 | Set 1
57 | S52 | 151.1562 | 4980.6506 | 0.030349 | 0.63647 | 0.12729 | 36.126 | Set 1
58 | S53 | 83.5196 | 3604.8532 | 0.023169 | 0.48681 | 0.097362 | 26.147 | Set 1
59 | S54 | 156.6492 | 3450.2591 | 0.045402 | 0.95025 | 0.19005 | 25.0257 | Set 1
60 | S55 | 196.0577 | 3793.2564 | 0.051686 | 1.0812 | 0.21625 | 27.5135 | Set 1
61 | S56 | 381.7591 | 4254.3828 | 0.089733 | 1.8743 | 0.37486 | 30.8582 | Set 1
64 | S59 | 435.307 | 4980.1045 | 0.087409 | 1.8259 | 0.36517 | 36.1221 | Set 1
65 | S60 | 471.2744 | 4585.0578 | 0.10278 | 2.1464 | 0.42927 | 33.2567 | Set 1
66 | S61 | 136.5678 | 3844.6814 | 0.035521 | 0.74429 | 0.14886 | 27.8865 | Set 1
68 | B1 | 0 | 4541.4836 | 0 | 0 | 0 | 32.9406 | Set 1
69 | B2 | 0 | 5095.1395 | 0 | 0 | 0 | 36.9565 | Set 1
70 | B3 | 0 | 5047.4169 | 0 | 0 | 0 | 36.6103 | Set 1
71 | B4 | 0 | 4957.5469 | 0 | 0 | 0 | 35.9585 | Set 1
72 | B5 | 0 | 5685.4669 | 0 | 0 | 0 | 41.2383 | Set 1
5 | S1 | 9901.6902 | 4167.0393 | 2.3762 | 47.3481 | 9.4696 | 31.3658 | Set 2
6 | S2 | 5950.7017 | 3861.2008 | 1.5412 | 31.1469 | 6.2294 | 29.0637 | Set 2
7 | S3 | 9549.331 | 3236.0102 | 2.951 | 58.4995 | 11.6999 | 24.3578 | Set 2
8 | S4 | 29347.1038 | 4014.7512 | 7.3098 | 143.0689 | 28.6138 | 30.2195 | Set 2
9 | S5 | 73375.5126 | 3638.4404 | 20.1667 | 392.5154 | 78.5031 | 27.3869 | Set 2
13 | S9 | 32953.4272 | 3951.9081 | 8.3386 | 163.0292 | 32.6058 | 29.7464 | Set 2
16 | S12 | 175790.3627 | 3805.7092 | 46.1912 | 897.4349 | 179.487 | 28.646 | Set 2
17 | S13 | 31230.2312 | 3581.6193 | 8.7196 | 170.4208 | 34.0842 | 26.9592 | Set 2
20 | S16 | 37858.3 | 3730.6747 | 10.1478 | 198.1314 | 39.6263 | 28.0812 | Set 2
23 | S19 | 25845.3276 | 4692.4287 | 5.5079 | 108.1082 | 21.6216 | 35.3204 | Set 2
24 | S20 | 45229.4981 | 3593.5442 | 12.5863 | 245.4421 | 49.0884 | 27.049 | Set 2
25 | S21 | 10535.4145 | 3632.0122 | 2.9007 | 57.5246 | 11.5049 | 27.3386 | Set 2
26 | S22 | 5356.5278 | 3904.7415 | 1.3718 | 27.8611 | 5.5722 | 29.3914 | Set 2
27 | S23 | 73463.7025 | 3416.4984 | 21.5026 | 418.4338 | 83.6868 | 25.7164 | Set 2
28 | S24 | 122186.0783 | 2458.4432 | 49.7006 | 965.5227 | 193.1045 | 18.505 | Set 2
29 | S25 | 1678.6927 | 4789.3695 | 0.3505 | 8.0462 | 1.6092 | 36.0501 | Set 2
31 | S27 | 435.6145 | 3605.0718 | 0.12083 | 3.5902 | 0.71805 | 27.1358 | Set 2
32 | S28 | 1193.6591 | 4525.8751 | 0.26374 | 6.3629 | 1.2726 | 34.0668 | Set 2
33 | S29 | 34314.7787 | 4653.3329 | 7.3742 | 144.3187 | 28.8637 | 35.0261 | Set 2
34 | S30 | 40908.7617 | 3873.2537 | 10.5619 | 206.1641 | 41.2328 | 29.1544 | Set 2
35 | S31 | 4130.9468 | 3614.5251 | 1.1429 | 23.4196 | 4.6839 | 27.2069 | Set 2
36 | S32 | 2392.6271 | 3895.2477 | 0.61424 | 13.1632 | 2.6326 | 29.32 | Set 2
37 | S33 | 4018.3285 | 4941.7983 | 0.81313 | 17.022 | 3.4044 | 37.1975 | Set 2
38 | S34 | 21336.5604 | 4384.6519 | 4.8662 | 95.6583 | 19.1317 | 33.0038 | Set 2
39 | S35 | 13121.3759 | 5748.362 | 2.2826 | 45.5328 | 9.1066 | 43.2686 | Set 2
40 | S36 | 5867.9675 | 3873.8842 | 1.5148 | 30.6346 | 6.1269 | 29.1592 | Set 2
41 | S37 | 2663.5063 | 3793.8575 | 0.70206 | 14.867 | 2.9734 | 28.5568 | Set 2
42 | S38 | 28525.6652 | 4811.7689 | 5.9283 | 116.2653 | 23.2531 | 36.2187 | Set 2
44 | S40 | 14483.9688 | 3846.3908 | 3.7656 | 74.305 | 14.861 | 28.9522 | Set 2
46 | S41 | 8722.6843 | 4757.2363 | 1.8336 | 36.8201 | 7.364 | 35.8082 | Set 2
47 | S42 | 5980.2909 | 4228.5182 | 1.4143 | 28.6852 | 5.737 | 31.8285 | Set 2
48 | S43 | 5492.8186 | 4708.2141 | 1.1666 | 23.8808 | 4.7762 | 35.4392 | Set 2
49 | S44 | 5507.9025 | 3539.3903 | 1.5562 | 31.4383 | 6.2877 | 26.6414 | Set 2
50 | S45 | 11349.643 | 4225.3738 | 2.6861 | 53.3602 | 10.672 | 31.8049 | Set 2
51 | S46 | 56624.9784 | 3457.8267 | 16.3759 | 318.9662 | 63.7932 | 26.0274 | Set 2
52 | S47 | 31411.3336 | 3172.0342 | 9.9026 | 193.373 | 38.6746 | 23.8762 | Set 2
53 | S48 | 9437.9341 | 3853.1333 | 2.4494 | 48.7688 | 9.7538 | 29.003 | Set 2
54 | S49 | 600.7001 | 3961.535 | 0.15163 | 4.1878 | 0.83756 | 29.8189 | Set 2
55 | S50 | 11686.0575 | 3926.5394 | 2.9762 | 58.9887 | 11.7977 | 29.5555 | Set 2
62 | S57 | 22335.6217 | 3585.8568 | 6.2288 | 122.0955 | 24.4191 | 26.9911 | Set 2
63 | S58 | 5958.5893 | 3751.713 | 1.5882 | 32.0603 | 6.4121 | 28.2396 | Set 2
67 | S62 | 578.5163 | 3675.466 | 0.1574 | 4.2997 | 0.85993 | 27.6656 | Set 2

## Corrected_Calibration
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
2 | 0.1 ppb Cal Std | 76.02 | 14588.6529 | 0.1 | 0.0052109 | 0.02 | 0.11249 | 87.5079 | Set 1
3 | 0.5 ppb Cal Std | 289.0711 | 12672.852 | 0.5 | 0.02281 | 0.1 | 0.47934 | 104.1322 | Set 1
4 | 1.0 ppb Cal Std | 711.4976 | 14776.2241 | 1 | 0.048152 | 0.2 | 1.0076 | 99.244 | Set 1
45 | 2.5 ppb Cal Std rep 1 | 1604.4133 | 13436.5514 | 2.5 | 0.11941 | 0.5 | 2.4928 | 100.287 | Set 1
73 | 2.5 ppb Cal Std rep 2 | 1616.8815 | 13460.0824 | 2.5 | 0.12012 | 0.5 | 2.5078 | 99.6887 | Set 1
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
74 | 5.0 ppb Cal Std | 3183.5035 | 13512.7319 | 5 | 0.23559 | 1 | 5.8168 | 83.6649 | Set 2
75 | 10 ppb Cal Std | 6376.6767 | 13242.4061 | 10 | 0.48153 | 2 | 10.5884 | 94.1155 | Set 2
76 | 25 ppb Cal Std | 16335.8055 | 13336.6178 | 25 | 1.2249 | 5 | 25.0107 | 99.9572 | Set 2
77 | 50 ppb Cal Std | 32613.2207 | 13279.6501 | 50 | 2.4559 | 10 | 48.8941 | 102.2117 | Set 2
78 | 100 ppb Cal Std | 66413.5735 | 13190.9428 | 100 | 5.0348 | 20 | 98.9293 | 101.0707 | Set 2
79 | 200 ppb Cal Std | 135221.2046 | 13149.5217 | 200 | 10.2834 | 40 | 200.7606 | 99.6197 | Set 2

## Uncorrected_Data
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%)
2 | 0.1 ppb Cal Std | 76.02 | 14588.6529 | 0.1 | 0.0052109 | 0.02 | 0.64184 | 441.8442
3 | 0.5 ppb Cal Std | 289.0711 | 12672.852 | 0.5 | 0.02281 | 0.1 | 0.98507 | 2.9868
4 | 1.0 ppb Cal Std | 711.4976 | 14776.2241 | 1 | 0.048152 | 0.2 | 1.4793 | 52.0731
45 | 2.5 ppb Cal Std rep 1 | 1604.4133 | 13436.5514 | 2.5 | 0.11941 | 0.5 | 2.8689 | 85.2447
73 | 2.5 ppb Cal Std rep 2 | 1616.8815 | 13460.0824 | 2.5 | 0.12012 | 0.5 | 2.8829 | 84.685
74 | 5.0 ppb Cal Std | 3183.5035 | 13512.7319 | 5 | 0.23559 | 1 | 5.1347 | 97.3052
75 | 10 ppb Cal Std | 6376.6767 | 13242.4061 | 10 | 0.48153 | 2 | 9.9311 | 100.6892
76 | 25 ppb Cal Std | 16335.8055 | 13336.6178 | 25 | 1.2249 | 5 | 24.4278 | 102.2887
77 | 50 ppb Cal Std | 32613.2207 | 13279.6501 | 50 | 2.4559 | 10 | 48.4346 | 103.1308
78 | 100 ppb Cal Std | 66413.5735 | 13190.9428 | 100 | 5.0348 | 20 | 98.7283 | 101.2717
79 | 200 ppb Cal Std | 135221.2046 | 13149.5217 | 200 | 10.2834 | 40 | 201.0855 | 99.4572
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery
5 | S1 | 9901.6902 | 4167.0393 | 2.3762 | 46.8806 | 9.3761 | 30.8366
6 | S2 | 5950.7017 | 3861.2008 | 1.5412 | 30.5957 | 6.1191 | 28.5734
7 | S3 | 9549.331 | 3236.0102 | 2.951 | 58.0896 | 11.6179 | 23.9469
8 | S4 | 29347.1038 | 4014.7512 | 7.3098 | 143.0958 | 28.6192 | 29.7096
9 | S5 | 73375.5126 | 3638.4404 | 20.1667 | 393.8308 | 78.7662 | 26.9249
10 | S6 | 21.9962 | 3563.1721 | 0.0061732 | 0.66061 | 0.13212 | 26.3679
11 | S7 | 21.5231 | 3813.7258 | 0.0056436 | 0.65028 | 0.13006 | 28.222
12 | S8 | 46.0897 | 3936.5598 | 0.011708 | 0.76855 | 0.15371 | 29.131
13 | S9 | 32953.4272 | 3951.9081 | 8.3386 | 163.1593 | 32.6319 | 29.2446
14 | S10 | 52.1684 | 3531.5089 | 0.014772 | 0.82831 | 0.16566 | 26.1336
15 | S11 | 17.8806 | 3000.0467 | 0.0059601 | 0.65646 | 0.13129 | 22.2007
16 | S12 | 175790.3627 | 3805.7092 | 46.1912 | 901.3583 | 180.2717 | 28.1627
17 | S13 | 31230.2312 | 3581.6193 | 8.7196 | 170.589 | 34.1178 | 26.5044
18 | S14 | 51.9821 | 3974.7177 | 0.013078 | 0.79527 | 0.15905 | 29.4134
19 | S15 | 27.0971 | 5235.6827 | 0.0051755 | 0.64115 | 0.12823 | 38.7447
20 | S16 | 37858.3 | 3730.6747 | 10.1478 | 198.4428 | 39.6886 | 27.6074
21 | S17 | 21.4486 | 4927.3176 | 0.004353 | 0.62511 | 0.12502 | 36.4627
22 | S18 | 210.1036 | 3816.2438 | 0.055055 | 1.6139 | 0.32278 | 28.2407
23 | S19 | 25845.3276 | 4692.4287 | 5.5079 | 107.9545 | 21.5909 | 34.7245
24 | S20 | 45229.4981 | 3593.5442 | 12.5863 | 245.9978 | 49.1996 | 26.5927
25 | S21 | 10535.4145 | 3632.0122 | 2.9007 | 57.1097 | 11.4219 | 26.8773
26 | S22 | 5356.5278 | 3904.7415 | 1.3718 | 27.293 | 5.4586 | 28.8956
27 | S23 | 73463.7025 | 3416.4984 | 21.5026 | 419.8831 | 83.9766 | 25.2825
28 | S24 | 122186.0783 | 2458.4432 | 49.7006 | 969.7978 | 193.9596 | 18.1928
29 | S25 | 1678.6927 | 4789.3695 | 0.3505 | 7.3757 | 1.4751 | 35.4419
30 | S26 | 51.3025 | 4761.5778 | 0.010774 | 0.75034 | 0.15007 | 35.2362
31 | S27 | 435.6145 | 3605.0718 | 0.12083 | 2.8967 | 0.57934 | 26.678
32 | S28 | 1193.6591 | 4525.8751 | 0.26374 | 5.6837 | 1.1367 | 33.492
33 | S29 | 34314.7787 | 4653.3329 | 7.3742 | 144.3521 | 28.8704 | 34.4352
34 | S30 | 40908.7617 | 3873.2537 | 10.5619 | 206.5169 | 41.3034 | 28.6625
35 | S31 | 4130.9468 | 3614.5251 | 1.1429 | 22.8285 | 4.5657 | 26.7479
36 | S32 | 2392.6271 | 3895.2477 | 0.61424 | 12.5191 | 2.5038 | 28.8253
37 | S33 | 4018.3285 | 4941.7983 | 0.81313 | 16.3978 | 3.2796 | 36.5699
38 | S34 | 21336.5604 | 4384.6519 | 4.8662 | 95.4404 | 19.0881 | 32.447
39 | S35 | 13121.3759 | 5748.362 | 2.2826 | 45.0559 | 9.0112 | 42.5386
40 | S36 | 5867.9675 | 3873.8842 | 1.5148 | 30.0808 | 6.0162 | 28.6672
41 | S37 | 2663.5063 | 3793.8575 | 0.70206 | 14.2317 | 2.8463 | 28.075
42 | S38 | 28525.6652 | 4811.7689 | 5.9283 | 116.1538 | 23.2308 | 35.6077
43 | S39 | 264.3048 | 4307.9686 | 0.061353 | 1.7367 | 0.34734 | 31.8795
44 | S40 | 14483.9688 | 3846.3908 | 3.7656 | 73.9767 | 14.7953 | 28.4638
46 | S41 | 8722.6843 | 4757.2363 | 1.8336 | 36.2982 | 7.2596 | 35.2041
47 | S42 | 5980.2909 | 4228.5182 | 1.4143 | 28.1213 | 5.6243 | 31.2915
48 | S43 | 5492.8186 | 4708.2141 | 1.1666 | 23.2921 | 4.6584 | 34.8414
49 | S44 | 5507.9025 | 3539.3903 | 1.5562 | 30.8886 | 6.1777 | 26.1919
50 | S45 | 11349.643 | 4225.3738 | 2.6861 | 52.9237 | 10.5847 | 31.2683
51 | S46 | 56624.9784 | 3457.8267 | 16.3759 | 319.9017 | 63.9803 | 25.5883
52 | S47 | 31411.3336 | 3172.0342 | 9.9026 | 193.6597 | 38.7319 | 23.4734
53 | S48 | 9437.9341 | 3853.1333 | 2.4494 | 48.3086 | 9.6617 | 28.5136
54 | S49 | 600.7001 | 3961.535 | 0.15163 | 3.4974 | 0.69947 | 29.3158
55 | S50 | 11686.0575 | 3926.5394 | 2.9762 | 58.5813 | 11.7163 | 29.0569
56 | S51 | 19.1628 | 4702.7589 | 0.0040748 | 0.61969 | 0.12394 | 34.801
57 | S52 | 151.1562 | 4980.6506 | 0.030349 | 1.1321 | 0.22642 | 36.8574
58 | S53 | 83.5196 | 3604.8532 | 0.023169 | 0.99206 | 0.19841 | 26.6763
59 | S54 | 156.6492 | 3450.2591 | 0.045402 | 1.4257 | 0.28513 | 25.5323
60 | S55 | 196.0577 | 3793.2564 | 0.051686 | 1.5482 | 0.30964 | 28.0706
61 | S56 | 381.7591 | 4254.3828 | 0.089733 | 2.2902 | 0.45804 | 31.4829
62 | S57 | 22335.6217 | 3585.8568 | 6.2288 | 122.0141 | 24.4028 | 26.5358
63 | S58 | 5958.5893 | 3751.713 | 1.5882 | 31.5138 | 6.3028 | 27.7631
64 | S59 | 435.307 | 4980.1045 | 0.087409 | 2.2449 | 0.44897 | 36.8534
65 | S60 | 471.2744 | 4585.0578 | 0.10278 | 2.5447 | 0.50894 | 33.93
66 | S61 | 136.5678 | 3844.6814 | 0.035521 | 1.233 | 0.24659 | 28.4511
67 | S62 | 578.5163 | 3675.466 | 0.1574 | 3.6098 | 0.72196 | 27.1989
68 | B1 | 0 | 4541.4836 | 0 | 0 | 0 | 33.6075
69 | B2 | 0 | 5095.1395 | 0 | 0 | 0 | 37.7046
70 | B3 | 0 | 5047.4169 | 0 | 0 | 0 | 37.3515
71 | B4 | 0 | 4957.5469 | 0 | 0 | 0 | 36.6864
72 | B5 | 0 | 5685.4669 | 0 | 0 | 0 | 42.0731