## Export
| Batch | SampleID | IS_Recovery | Nicotine Conc. (ng/mL)
15 | Nicotine Template Test Data | S1 | 67.1629 | 85.9673
17 | Nicotine Template Test Data | S2 | 69.323 | 30.7388
19 | Nicotine Template Test Data | S3 | 72.4594 | 0.39471
21 | Nicotine Template Test Data | S4 | 38.9606 | 51.4177
23 | Nicotine Template Test Data | S5 | 52.7647 | 17.9787
25 | Nicotine Template Test Data | S6 | 24.7952 | 49.7176
27 | Nicotine Template Test Data | S7 | 56.6546 | 95.5023
29 | Nicotine Template Test Data | S8 | 64.1719 | 9.1541
31 | Nicotine Template Test Data | S9 | 42.9217 | 153.0381
33 | Nicotine Template Test Data | S10 | 67.3637 | 27.5304
35 | Nicotine Template Test Data | S11 | 54.8479 | 38.8076
37 | Nicotine Template Test Data | S12 | 47.352 | 29.2498
39 | Nicotine Template Test Data | S13 | 57.5406 | 211.9047
41 | Nicotine Template Test Data | S14 | 55.7894 | 99.6002
43 | Nicotine Template Test Data | S15 | 63.6474 | 82.9137
45 | Nicotine Template Test Data | S16 | 54.1625 | 101.1963
47 | Nicotine Template Test Data | S17 | 55.5188 | 0.81783
49 | Nicotine Template Test Data | S18 | 63.244 | 105.4704
51 | Nicotine Template Test Data | S19 | 46.7913 | 72.911
53 | Nicotine Template Test Data | S20 | 64.3574 | 228.4287
55 | Nicotine Template Test Data | S21 | 71.6164 | 176.2468
57 | Nicotine Template Test Data | S22 | 55.513 | 21.8128
59 | Nicotine Template Test Data | S23 | 83.4719 | 55.3679
63 | Nicotine Template Test Data | S24 | 77.5384 | 7.019
65 | Nicotine Template Test Data | S25 | 61.706 | 46.8102
67 | Nicotine Template Test Data | S26 | 69.3161 | 11.115
69 | Nicotine Template Test Data | S27 | 68.9014 | 3.9913
71 | Nicotine Template Test Data | S28 | 74.746 | 2.4183
73 | Nicotine Template Test Data | S29 | 90.8577 | 34.2998
75 | Nicotine Template Test Data | S30 | 92.3935 | 31.0893
77 | Nicotine Template Test Data | S31 | 88.0004 | 44.9042
79 | Nicotine Template Test Data | S32 | 80.8701 | 10.4557
81 | Nicotine Template Test Data | S33 | 80.1664 | 77.3672
83 | Nicotine Template Test Data | S34 | 69.081 | 226.7982
85 | Nicotine Template Test Data | S35 | 81.2657 | 108.2377
87 | Nicotine Template Test Data | S36 | 79.9483 | 183.1513
89 | Nicotine Template Test Data | S37 | 73.0168 | 213.2809
91 | Nicotine Template Test Data | S38 | 93.7419 | 55.8098
93 | Nicotine Template Test Data | S39 | 76.4497 | 45.6976
95 | Nicotine Template Test Data | S40 | 86.2226 | 17.7748
97 | Nicotine Template Test Data | S41 | 87.9787 | 30.3418
99 | Nicotine Template Test Data | S42 | 70.1247 | 168.4355
101 | Nicotine Template Test Data | S43 | 84.1349 | 20.1115
103 | Nicotine Template Test Data | S44 | 70.3142 | 22.9552
105 | Nicotine Template Test Data | S45 | 88.241 | 12.6853
107 | Nicotine Template Test Data | S46 | 94.7978 | 8.2186
109 | Nicotine Template Test Data | S47 | 97.0548 | 0.26427
111 | Nicotine Template Test Data | S48 | 90.0766 | 33.7747
113 | Nicotine Template Test Data | S49 | 85.1803 | 0.2179
115 | Nicotine Template Test Data | S50 | 81.482 | 10.833

## Comparison
| Batch | SampleID | IS_Recovery | Measured_TC_Conc_Corrected | Measured_TC_Conc_Uncorrected | Percent_Difference | Measured_TC_Conc_MassHunter
48 | Nicotine Template Test Data | S49 | 85.1803 | 0.2179 | 0.065127 | 234.5809 | 0.065127
46 | Nicotine Template Test Data | S47 | 97.0548 | 0.26427 | 0.10934 | 141.6954 | 0.10934
2 | Nicotine Template Test Data | S3 | 72.4594 | 0.39471 | 0.23373 | 68.879 | 0.23373
16 | Nicotine Template Test Data | S17 | 55.5188 | 0.81783 | 0.63719 | 28.3492 | 0.63719
27 | Nicotine Template Test Data | S28 | 74.746 | 2.4183 | 2.5075 | 3.5579 | 2.5075
26 | Nicotine Template Test Data | S27 | 68.9014 | 3.9913 | 4.0802 | 2.1784 | 4.0802
23 | Nicotine Template Test Data | S24 | 77.5384 | 7.019 | 7.1073 | 1.2416 | 7.1073
45 | Nicotine Template Test Data | S46 | 94.7978 | 8.2186 | 8.3066 | 1.0593 | 8.3066
7 | Nicotine Template Test Data | S8 | 64.1719 | 9.1541 | 9.2419 | 0.94998 | 9.2419
31 | Nicotine Template Test Data | S32 | 80.8701 | 10.4557 | 10.5433 | 0.83013 | 10.5433
49 | Nicotine Template Test Data | S50 | 81.482 | 10.833 | 10.9205 | 0.80073 | 10.9205
25 | Nicotine Template Test Data | S26 | 69.3161 | 11.115 | 11.2024 | 0.78005 | 11.2024
44 | Nicotine Template Test Data | S45 | 88.241 | 12.6853 | 12.7723 | 0.68158 | 12.7723
39 | Nicotine Template Test Data | S40 | 86.2226 | 17.7748 | 17.8607 | 0.4814 | 17.8607
4 | Nicotine Template Test Data | S5 | 52.7647 | 17.9787 | 18.0646 | 0.47573 | 18.0646
42 | Nicotine Template Test Data | S43 | 84.1349 | 20.1115 | 20.197 | 0.42328 | 20.197
21 | Nicotine Template Test Data | S22 | 55.513 | 21.8128 | 21.8979 | 0.38877 | 21.8979
43 | Nicotine Template Test Data | S44 | 70.3142 | 22.9552 | 23.0401 | 0.36845 | 23.0401
9 | Nicotine Template Test Data | S10 | 67.3637 | 27.5304 | 27.6143 | 0.30393 | 27.6143
11 | Nicotine Template Test Data | S12 | 47.352 | 29.2498 | 29.3333 | 0.28488 | 29.3333
40 | Nicotine Template Test Data | S41 | 87.9787 | 30.3418 | 30.4252 | 0.27391 | 30.4252
1 | Nicotine Template Test Data | S2 | 69.323 | 30.7388 | 30.8221 | 0.27011 | 30.8221
29 | Nicotine Template Test Data | S30 | 92.3935 | 31.0893 | 31.1725 | 0.26683 | 31.1725
47 | Nicotine Template Test Data | S48 | 90.0766 | 33.7747 | 33.8573 | 0.24401 | 33.8573
28 | Nicotine Template Test Data | S29 | 90.8577 | 34.2998 | 34.3823 | 0.23996 | 34.3823
10 | Nicotine Template Test Data | S11 | 54.8479 | 38.8076 | 38.8891 | 0.20971 | 38.8891
30 | Nicotine Template Test Data | S31 | 88.0004 | 44.9042 | 44.9845 | 0.17844 | 44.9845
38 | Nicotine Template Test Data | S39 | 76.4497 | 45.6976 | 45.7777 | 0.17498 | 45.7777
24 | Nicotine Template Test Data | S25 | 61.706 | 46.8102 | 46.8901 | 0.17033 | 46.8901
5 | Nicotine Template Test Data | S6 | 24.7952 | 49.7176 | 49.7969 | 0.15916 | 49.7969
3 | Nicotine Template Test Data | S4 | 38.9606 | 51.4177 | 51.4966 | 0.15321 | 51.4966
22 | Nicotine Template Test Data | S23 | 83.4719 | 55.3679 | 55.446 | 0.1408 | 55.446
37 | Nicotine Template Test Data | S38 | 93.7419 | 55.8098 | 55.8878 | 0.13952 | 55.8878
18 | Nicotine Template Test Data | S19 | 46.7913 | 72.911 | 72.9854 | 0.1019 | 72.9854
32 | Nicotine Template Test Data | S33 | 80.1664 | 77.3672 | 77.4407 | 0.094829 | 77.4407
14 | Nicotine Template Test Data | S15 | 63.6474 | 82.9137 | 82.9859 | 0.087085 | 82.9859
0 | Nicotine Template Test Data | S1 | 67.1629 | 85.9673 | 86.0389 | 0.083248 | 86.0389
6 | Nicotine Template Test Data | S7 | 56.6546 | 95.5023 | 95.572 | 0.072844 | 95.572
13 | Nicotine Template Test Data | S14 | 55.7894 | 99.6002 | 99.6689 | 0.068984 | 99.6689
15 | Nicotine Template Test Data | S16 | 54.1625 | 101.1963 | 101.2647 | 0.067565 | 101.2647
17 | Nicotine Template Test Data | S18 | 63.244 | 105.4704 | 105.538 | 0.063976 | 105.538
34 | Nicotine Template Test Data | S35 | 81.2657 | 108.2377 | 108.3046 | 0.061804 | 108.3046
8 | Nicotine Template Test Data | S9 | 42.9217 | 153.0381 | 153.0956 | 0.037561 | 153.0956
41 | Nicotine Template Test Data | S42 | 70.1247 | 168.4355 | 168.4897 | 0.032206 | 168.4897
20 | Nicotine Template Test Data | S21 | 71.6164 | 176.2468 | 176.2994 | 0.029846 | 176.2994
35 | Nicotine Template Test Data | S36 | 79.9483 | 183.1513 | 183.2024 | 0.027928 | 183.2024
12 | Nicotine Template Test Data | S13 | 57.5406 | 211.9047 | 211.9498 | 0.021284 | 211.9498
36 | Nicotine Template Test Data | S37 | 73.0168 | 213.2809 | 213.3257 | 0.021011 | 213.3257
33 | Nicotine Template Test Data | S34 | 69.081 | 226.7982 | 226.8402 | 0.018505 | 226.8402
19 | Nicotine Template Test Data | S20 | 64.3574 | 228.4287 | 228.4704 | 0.018222 | 228.4704

## Corrected_Samples
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery | Set
19 | S3 | 68.1609 | 497.2623 | 0.13707 | 0.39471 | 0.078943 | 72.4594 | Set 1
47 | S17 | 104.8364 | 381.0055 | 0.27516 | 0.81783 | 0.16357 | 55.5188 | Set 1
109 | S47 | 62.9431 | 666.0516 | 0.094502 | 0.26427 | 0.052854 | 97.0548 | Set 1
113 | S49 | 46.3967 | 584.561 | 0.07937 | 0.2179 | 0.043581 | 85.1803 | Set 1
15 | S1 | 13865.2199 | 469.9499 | 29.5036 | 85.9673 | 17.1935 | 67.1629 | Set 2
17 | S2 | 5144.5137 | 485.0643 | 10.6058 | 30.7388 | 6.1478 | 69.323 | Set 2
21 | S4 | 4820.2457 | 272.6134 | 17.6816 | 51.4177 | 10.2835 | 38.9606 | Set 2
23 | S5 | 2303.6923 | 369.203 | 6.2396 | 17.9787 | 3.5957 | 52.7647 | Set 2
25 | S6 | 2966.7628 | 173.4958 | 17.0999 | 49.7176 | 9.9435 | 24.7952 | Set 2
27 | S7 | 12989.244 | 396.4212 | 32.7663 | 95.5023 | 19.1005 | 56.6546 | Set 2
29 | S8 | 1445.8962 | 449.0212 | 3.2201 | 9.1541 | 1.8308 | 64.1719 | Set 2
31 | S9 | 15753.3606 | 300.3297 | 52.4536 | 153.0381 | 30.6076 | 42.9217 | Set 2
33 | S10 | 4481.6304 | 471.3544 | 9.508 | 27.5304 | 5.5061 | 67.3637 | Set 2
35 | S11 | 5129.894 | 383.7798 | 13.3668 | 38.8076 | 7.7615 | 54.8479 | Set 2
37 | S12 | 3345.2044 | 331.3293 | 10.0963 | 29.2498 | 5.85 | 47.352 | Set 2
39 | S13 | 29228.7435 | 402.6207 | 72.5962 | 211.9047 | 42.3809 | 57.5406 | Set 2
41 | S14 | 13338.2387 | 390.3671 | 34.1685 | 99.6002 | 19.92 | 55.7894 | Set 2
43 | S15 | 12674.1278 | 445.3508 | 28.4588 | 82.9137 | 16.5827 | 63.6474 | Set 2
45 | S16 | 13156.269 | 378.9838 | 34.7146 | 101.1963 | 20.2393 | 54.1625 | Set 2
49 | S18 | 16009.3952 | 442.5283 | 36.1771 | 105.4704 | 21.0941 | 63.244 | Set 2
51 | S19 | 8196.9707 | 327.4062 | 25.0361 | 72.911 | 14.5822 | 46.7913 | Set 2
53 | S20 | 35237.6232 | 450.3192 | 78.2503 | 228.4287 | 45.6857 | 64.3574 | Set 2
55 | S21 | 30264.6255 | 501.1115 | 60.395 | 176.2468 | 35.2494 | 71.6164 | Set 2
57 | S22 | 2933.2853 | 388.4334 | 7.5516 | 21.8128 | 4.3626 | 55.513 | Set 2
59 | S23 | 11116.7028 | 584.0664 | 19.0333 | 55.3679 | 11.0736 | 83.4719 | Set 2
63 | S24 | 1350.6842 | 542.5487 | 2.4895 | 7.019 | 1.4038 | 77.5384 | Set 2
65 | S25 | 6953.632 | 431.7666 | 16.1051 | 46.8102 | 9.362 | 61.706 | Set 2
67 | S26 | 1887.2285 | 485.016 | 3.8911 | 11.115 | 2.223 | 69.3161 | Set 2
69 | S27 | 700.755 | 482.114 | 1.4535 | 3.9913 | 0.79826 | 68.9014 | Set 2
71 | S28 | 478.6901 | 523.0099 | 0.91526 | 2.4183 | 0.48365 | 74.746 | Set 2
73 | S29 | 7517.2566 | 635.7458 | 11.8243 | 34.2998 | 6.86 | 90.8577 | Set 2
75 | S30 | 6934.117 | 646.4921 | 10.7258 | 31.0893 | 6.2179 | 92.3935 | Set 2
77 | S31 | 9515.1595 | 615.7529 | 15.4529 | 44.9042 | 8.9808 | 88.0004 | Set 2
79 | S32 | 2074.1526 | 565.8612 | 3.6655 | 10.4557 | 2.0911 | 80.8701 | Set 2
81 | S33 | 14898.9933 | 560.937 | 26.5609 | 77.3672 | 15.4734 | 80.1664 | Set 2
83 | S34 | 37554.2573 | 483.3711 | 77.6924 | 226.7982 | 45.3596 | 69.081 | Set 2
85 | S35 | 21109.7744 | 568.6289 | 37.124 | 108.2377 | 21.6475 | 81.2657 | Set 2
87 | S36 | 35107.2497 | 559.411 | 62.7575 | 183.1513 | 36.6303 | 79.9483 | Set 2
89 | S37 | 37330.7203 | 510.9099 | 73.0671 | 213.2809 | 42.6562 | 73.0168 | Set 2
91 | S38 | 12583.635 | 655.9273 | 19.1845 | 55.8098 | 11.162 | 93.7419 | Set 2
93 | S39 | 8411.4372 | 534.9305 | 15.7244 | 45.6976 | 9.1395 | 76.4497 | Set 2
95 | S40 | 3722.3598 | 603.3131 | 6.1699 | 17.7748 | 3.555 | 86.2226 | Set 2
97 | S41 | 6445.3371 | 615.6009 | 10.47 | 30.3418 | 6.0684 | 87.9787 | Set 2
99 | S42 | 28322.7349 | 490.6736 | 57.7222 | 168.4355 | 33.6871 | 70.1247 | Set 2
101 | S43 | 4102.9404 | 588.7056 | 6.9694 | 20.1115 | 4.0223 | 84.1349 | Set 2
103 | S44 | 3907.6923 | 491.9995 | 7.9425 | 22.9552 | 4.591 | 70.3142 | Set 2
105 | S45 | 2734.2311 | 617.4364 | 4.4284 | 12.6853 | 2.5371 | 88.241 | Set 2
107 | S46 | 1923.6088 | 663.3154 | 2.9 | 8.2186 | 1.6437 | 94.7978 | Set 2
111 | S48 | 7339.3908 | 630.2807 | 11.6446 | 33.7747 | 6.7549 | 90.0766 | Set 2
115 | S50 | 2163.4505 | 570.1427 | 3.7946 | 10.833 | 2.1666 | 81.482 | Set 2

## Corrected_Calibration
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
5 | 0.1 ppb nicotine cal std | 24.7463 | 658.3562 | 0.1 | 0.037588 | 0.02 | 0.089876 | 110.1238 | Set 1
7 | 0.5 ppb nicotine cal std | 125.7594 | 708.9838 | 0.5 | 0.17738 | 0.1 | 0.51822 | 96.3554 | Set 1
9 | 1.0 ppb nicotine cal std | 229.5378 | 691.4504 | 1 | 0.33197 | 0.2 | 0.9919 | 100.8099 | Set 1
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%) | Set
11 | 2.5 ppb nicotine cal std | 579.6951 | 691.3804 | 2.5 | 0.83846 | 0.5 | 2.1938 | 112.2469 | Set 2
13 | 5.0 ppb nicotine cal std 1 | 1226.1243 | 710.5325 | 5 | 1.7256 | 1 | 4.7866 | 104.268 | Set 2
61 | 5.0 ppb nicotine cal std 2 | 1199.2535 | 702.331 | 5 | 1.7075 | 1 | 4.7337 | 105.3264 | Set 2
117 | 10 ppb nicotine cal std | 2365.8921 | 696.1951 | 10 | 3.3983 | 2 | 9.675 | 103.2503 | Set 2
119 | 25 ppb nicotine cal std | 6168.0655 | 709.7182 | 25 | 8.6909 | 5 | 25.1424 | 99.4306 | Set 2
121 | 50 ppb nicotine cal std | 12287.8774 | 699.6616 | 50 | 17.5626 | 10 | 51.0699 | 97.8603 | Set 2
123 | 500 ppb nicotine cal std | 117777.7542 | 688.1934 | 500 | 171.1405 | 100 | 499.8987 | 100.0203 | Set 2

## Uncorrected_Data
| SampleID | TC_Response | IS_Response | TC_Conc | Response_Ratio | Conc_Ratio | Measured_TC_Conc | Accuracy (%)
5 | 0.1 ppb nicotine cal std | 24.7463 | 658.3562 | 0.1 | 0.037588 | 0.02 | -0.056954 | 256.9544
7 | 0.5 ppb nicotine cal std | 125.7594 | 708.9838 | 0.5 | 0.17738 | 0.1 | 0.3515 | 129.7002
9 | 1.0 ppb nicotine cal std | 229.5378 | 691.4504 | 1 | 0.33197 | 0.2 | 0.80318 | 119.6822
11 | 2.5 ppb nicotine cal std | 579.6951 | 691.3804 | 2.5 | 0.83846 | 0.5 | 2.2831 | 108.6764
13 | 5.0 ppb nicotine cal std 1 | 1226.1243 | 710.5325 | 5 | 1.7256 | 1 | 4.8753 | 102.4937
61 | 5.0 ppb nicotine cal std 2 | 1199.2535 | 702.331 | 5 | 1.7075 | 1 | 4.8224 | 103.5519
117 | 10 ppb nicotine cal std | 2365.8921 | 696.1951 | 10 | 3.3983 | 2 | 9.7627 | 102.3735
119 | 25 ppb nicotine cal std | 6168.0655 | 709.7182 | 25 | 8.6909 | 5 | 25.2268 | 99.0929
121 | 50 ppb nicotine cal std | 12287.8774 | 699.6616 | 50 | 17.5626 | 10 | 51.1488 | 97.7024
123 | 500 ppb nicotine cal std | 117777.7542 | 688.1934 | 500 | 171.1405 | 100 | 499.8832 | 100.0234
| SampleID | TC_Response | IS_Response | Response_Ratio | Measured_TC_Conc | Measured_Conc_Ratio | IS_Recovery
15 | S1 | 13865.2199 | 469.9499 | 29.5036 | 86.0389 | 17.2078 | 67.5526
17 | S2 | 5144.5137 | 485.0643 | 10.6058 | 30.8221 | 6.1644 | 69.7252
19 | S3 | 68.1609 | 497.2623 | 0.13707 | 0.23373 | 0.046745 | 71.4786
21 | S4 | 4820.2457 | 272.6134 | 17.6816 | 51.4966 | 10.2993 | 39.1866
23 | S5 | 2303.6923 | 369.203 | 6.2396 | 18.0646 | 3.6129 | 53.0708
25 | S6 | 2966.7628 | 173.4958 | 17.0999 | 49.7969 | 9.9594 | 24.939
27 | S7 | 12989.244 | 396.4212 | 32.7663 | 95.572 | 19.1144 | 56.9832
29 | S8 | 1445.8962 | 449.0212 | 3.2201 | 9.2419 | 1.8484 | 64.5442
31 | S9 | 15753.3606 | 300.3297 | 52.4536 | 153.0956 | 30.6191 | 43.1706
33 | S10 | 4481.6304 | 471.3544 | 9.508 | 27.6143 | 5.5229 | 67.7545
35 | S11 | 5129.894 | 383.7798 | 13.3668 | 38.8891 | 7.7778 | 55.1661
37 | S12 | 3345.2044 | 331.3293 | 10.0963 | 29.3333 | 5.8667 | 47.6267
39 | S13 | 29228.7435 | 402.6207 | 72.5962 | 211.9498 | 42.39 | 57.8744
41 | S14 | 13338.2387 | 390.3671 | 34.1685 | 99.6689 | 19.9338 | 56.113
43 | S15 | 12674.1278 | 445.3508 | 28.4588 | 82.9859 | 16.5972 | 64.0166
45 | S16 | 13156.269 | 378.9838 | 34.7146 | 101.2647 | 20.2529 | 54.4767
47 | S17 | 104.8364 | 381.0055 | 0.27516 | 0.63719 | 0.12744 | 54.7673
49 | S18 | 16009.3952 | 442.5283 | 36.1771 | 105.538 | 21.1076 | 63.6109
51 | S19 | 8196.9707 | 327.4062 | 25.0361 | 72.9854 | 14.5971 | 47.0627
53 | S20 | 35237.6232 | 450.3192 | 78.2503 | 228.4704 | 45.6941 | 64.7308
55 | S21 | 30264.6255 | 501.1115 | 60.395 | 176.2994 | 35.2599 | 72.0319
57 | S22 | 2933.2853 | 388.4334 | 7.5516 | 21.8979 | 4.3796 | 55.835
59 | S23 | 11116.7028 | 584.0664 | 19.0333 | 55.446 | 11.0892 | 83.9562
63 | S24 | 1350.6842 | 542.5487 | 2.4895 | 7.1073 | 1.4215 | 77.9882
65 | S25 | 6953.632 | 431.7666 | 16.1051 | 46.8901 | 9.378 | 62.0639
67 | S26 | 1887.2285 | 485.016 | 3.8911 | 11.2024 | 2.2405 | 69.7182
69 | S27 | 700.755 | 482.114 | 1.4535 | 4.0802 | 0.81603 | 69.3011
71 | S28 | 478.6901 | 523.0099 | 0.91526 | 2.5075 | 0.5015 | 75.1796
73 | S29 | 7517.2566 | 635.7458 | 11.8243 | 34.3823 | 6.8765 | 91.3848
75 | S30 | 6934.117 | 646.4921 | 10.7258 | 31.1725 | 6.2345 | 92.9295
77 | S31 | 9515.1595 | 615.7529 | 15.4529 | 44.9845 | 8.9969 | 88.5109
79 | S32 | 2074.1526 | 565.8612 | 3.6655 | 10.5433 | 2.1087 | 81.3393
81 | S33 | 14898.9933 | 560.937 | 26.5609 | 77.4407 | 15.4881 | 80.6314
83 | S34 | 37554.2573 | 483.3711 | 77.6924 | 226.8402 | 45.368 | 69.4818
85 | S35 | 21109.7744 | 568.6289 | 37.124 | 108.3046 | 21.6609 | 81.7371
87 | S36 | 35107.2497 | 559.411 | 62.7575 | 183.2024 | 36.6405 | 80.4121
89 | S37 | 37330.7203 | 510.9099 | 73.0671 | 213.3257 | 42.6651 | 73.4403
91 | S38 | 12583.635 | 655.9273 | 19.1845 | 55.8878 | 11.1776 | 94.2857
93 | S39 | 8411.4372 | 534.9305 | 15.7244 | 45.7777 | 9.1555 | 76.8932
95 | S40 | 3722.3598 | 603.3131 | 6.1699 | 17.8607 | 3.5721 | 86.7228
97 | S41 | 6445.3371 | 615.6009 | 10.47 | 30.4252 | 6.085 | 88.4891
99 | S42 | 28322.7349 | 490.6736 | 57.7222 | 168.4897 | 33.6979 | 70.5315
101 | S43 | 4102.9404 | 588.7056 | 6.9694 | 20.197 | 4.0394 | 84.623
103 | S44 | 3907.6923 | 491.9995 | 7.9425 | 23.0401 | 4.608 | 70.7221
105 | S45 | 2734.2311 | 617.4364 | 4.4284 | 12.7723 | 2.5545 | 88.7529
107 | S46 | 1923.6088 | 663.3154 | 2.9 | 8.3066 | 1.6613 | 95.3477
109 | S47 | 62.9431 | 666.0516 | 0.094502 | 0.10934 | 0.021868 | 95.7411
111 | S48 | 7339.3908 | 630.2807 | 11.6446 | 33.8573 | 6.7715 | 90.5992
113 | S49 | 46.3967 | 584.561 | 0.07937 | 0.065127 | 0.013025 | 84.0272
115 | S50 | 2163.4505 | 570.1427 | 3.7946 | 10.9205 | 2.1841 | 81.9547