## Sheet1
Sample | [8 empty] | S(-)-Nicotine Method | S(-)-Nicotine Results | [6 empty] | Qualifier (163.1 -> 132.1) Results |  | Qualifier (163.1 -> 117.1) Results |  | Nicotine-d4 (ISTD) Results |  | Qualifier (167.3 -> 134.1) Results |  | Qualifier (167.3 -> 121.1) Results
| Name | Data File | Type | Level | Acq. Date-Time | Acq. Method File | DA Method File | Comment | Exp. Conc. | RT | Resp. | MI | Calc. Conc. | Final Conc. | Accuracy | ISTD Resp. Ratio | Ratio | MI | Ratio | MI | RT | Resp. | Ratio | MI | Ratio | MI
| ACN H20 Blank 1 | ACN H20 Blank 1.d | Blank |  | 2020-03-23 10:10 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2528 | 3.2168 | FALSE | 13.6982 | 13.6982 |  | 5.0509 | 113.9397 | FALSE | 80.185 | FALSE | 0.9574 | 0.63687 | 96.7364 | FALSE | 660.1045 | FALSE
| ACN H20 Blank 2 | ACN H20 Blank 2.d | Blank |  | 2020-03-23 10:14 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 7.1794 | FALSE | 8.1978 | 8.1978 |  | 3.0557 | 61.2428 | FALSE | 115.0549 | FALSE | 0.9574 | 2.3495 |  | FALSE | 175.6028 | FALSE
| ACN H20 Blank 3 | ACN H20 Blank 3.d | Blank |  | 2020-03-23 10:18 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2324 | 5.9799 | FALSE | 16.9083 | 16.9083 |  | 6.2154 | 143.0905 | FALSE | 121.5236 | FALSE | 1.1407 | 0.96211 |  | FALSE | 50.5614 | FALSE
| ACN H20 Blank 4 | ACN H20 Blank 4.d | Blank |  | 2020-03-23 10:22 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.1713 | 2.3257 | FALSE | 3.9872 | 3.9872 |  | 1.5283 | 290.9636 | FALSE | 92.0496 | FALSE | 1.1611 | 1.5217 | 166.6433 | FALSE | 333.3991 | FALSE
| ACN H20 Blank 5 | ACN H20 Blank 5.d | Blank |  | 2020-03-23 10:26 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 0.72315 | 1.5576 | FALSE | 0.53051 | 0.53051 |  | 0.27443 |  | FALSE | 401.8834 | FALSE | 1.5074 | 5.6759 | 67.079 | FALSE |  | FALSE
| ACN H20 Blank 6 | ACN H20 Blank 6.d | Blank |  | 2020-03-23 10:34 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.2528 | 1.6674 | FALSE | 2.6962 | 2.6962 |  | 1.06 | 240.8133 | FALSE | 188.3823 | FALSE | 1.3037 | 1.573 | 201.0834 | FALSE |  | FALSE
| ACN H20 Blank 7 | ACN H20 Blank 7.d | Blank |  | 2020-03-23 10:42 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.2731 | 4.3857 | FALSE | 39.6256 | 39.6256 |  | 14.4559 | 71.0974 | FALSE | 99.4925 | FALSE | 1.1815 | 0.30339 |  | FALSE |  | FALSE
| ACN H20 Blank 8 | ACN H20 Blank 8.d | Blank |  | 2020-03-23 10:50 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 0.80463 | 2.3966 | FALSE | 1.3783 | 1.3783 |  | 0.58197 | 103.7589 | FALSE | 45.9292 | FALSE | 1.324 | 4.1181 | 20.2567 | FALSE | 75.3075 | FALSE
| ACN H20 Blank 9 | ACN H20 Blank 9.d | Blank |  | 2020-03-23 10:58 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.2935 | 4.1642 | FALSE | 9.5481 | 9.5481 |  | 3.5455 |  | FALSE | 183.2944 | FALSE | 1.324 | 1.1745 | 148.5737 | FALSE | 264.3252 | FALSE
| ACN H20 Blank 10 | ACN H20 Blank 10.d | Blank |  | 2020-03-23 11:06 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.0898 | 2.1064 | FALSE | 5.6323 | 5.6323 |  | 2.1251 |  | FALSE | 108.3981 | FALSE | 0.8963 | 0.99123 |  | FALSE | 200.6535 | FALSE
| ACN H20 Blank 11 | ACN H20 Blank 11.d | Blank |  | 2020-03-23 11:14 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.6398 | 0.56323 | FALSE | 3.1011 | 3.1011 |  | 1.2069 | 382.8703 | FALSE | 1370.5986 | FALSE | 0.38707 | 0.46667 | 598.5549 | FALSE | 304.5506 | FALSE
| ACN H20 Blank 12 | ACN H20 Blank 12.d | Blank |  | 2020-03-23 11:22 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 0.96758 | 2.2886 | FALSE | 9.9907 | 9.9907 |  | 3.706 | 630.9511 | FALSE | 277.0914 | FALSE | 1.3444 | 0.61754 | 94.5317 | FALSE |  | FALSE
| ACN H20 Blank 13 | ACN H20 Blank 13.d | Blank |  | 2020-03-23 11:29 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.4361 | 3.5023 | FALSE | 3.1443 | 3.1443 |  | 1.2226 | 43.0381 | FALSE | 63.1367 | FALSE | 1.2222 | 2.8647 | 64.8462 | FALSE | 56.746 | FALSE
| ACN H20 Blank 14 | ACN H20 Blank 14.d | Blank |  | 2020-03-23 11:37 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0083 | 0.37274 | FALSE | 0.4985 | 0.4985 |  | 0.26282 | 179.6156 | FALSE | 436.071 | FALSE | 1.1407 | 1.4183 | 123.0041 | FALSE | 101.2732 | FALSE
| ACN H20 Blank 15 | ACN H20 Blank 15.d | Blank |  | 2020-03-23 11:45 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.1509 | 1.834 | FALSE | 5.4823 | 5.4823 |  | 2.0707 | 79.6003 | FALSE | 47.3645 | FALSE | 0.65187 | 0.88572 | 188.9653 | FALSE | 608.4501 | FALSE
| ACN H20 Blank 16 | ACN H20 Blank 16.d | Blank |  | 2020-03-23 11:53 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0287 | 1.4261 | FALSE | 2.977 | 2.977 |  | 1.1619 | 92.7102 | FALSE |  | FALSE | 1.4666 | 1.2274 | 79.1645 | FALSE | 142.7546 | FALSE
| ACN H20 Blank 17 | ACN H20 Blank 17.d | Blank |  | 2020-03-23 12:01 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.3546 | 5.153 | FALSE | 31.0237 | 31.0237 |  | 11.3356 | 32.2836 | FALSE |  | FALSE | 0.99813 | 0.45459 |  | FALSE | 454.6554 | FALSE
| ACN H20 Blank 18 | ACN H20 Blank 18.d | Blank |  | 2020-03-23 12:09 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 0.98795 | 1.5113 | FALSE | 4.5519 | 4.5519 |  | 1.7332 | 65.9078 | FALSE |  | FALSE | 0.12227 | 0.87201 | 183.5456 | FALSE | 84.3686 | FALSE
| ACN H20 Blank 19 | ACN H20 Blank 19.d | Blank |  | 2020-03-23 12:17 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 0.72315 | 4.7251 | FALSE | 21.9217 | 21.9217 |  | 8.034 |  | FALSE | 148.4671 | FALSE | 1.1407 | 0.58814 |  | FALSE |  | FALSE
| ACN H20 Blank 20 | ACN H20 Blank 20.d | Blank |  | 2020-03-23 12:25 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2324 | 3.4998 | FALSE | 10.3059 | 10.3059 |  | 3.8204 | 21.9106 | FALSE | 18.622 | FALSE | 0.93703 | 0.91609 |  | FALSE | 97.8254 | FALSE
| ACN H20 Blank 21 | ACN H20 Blank 21.d | Blank |  | 2020-03-23 12:32 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 11.7653 | FALSE | 47.8914 | 47.8914 |  | 17.4543 | 74.3798 | FALSE | 89.4316 | FALSE | 1.2833 | 0.67406 | 213.2049 | FALSE | 547.2468 | FALSE
| ACN H20 Blank 22 | ACN H20 Blank 22.d | Blank |  | 2020-03-23 12:40 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 11.492 | TRUE | 4.7771 | 4.7771 |  | 1.8149 | 121.3314 | FALSE | 85.2934 | FALSE | 1.2629 | 6.3322 | 21.8115 | FALSE | 38.4855 | FALSE
| ACN H20 Blank 23 | ACN H20 Blank 23.d | Blank |  | 2020-03-23 12:48 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 10.5327 | FALSE | 13.3879 | 13.3879 |  | 4.9384 | 116.8529 | FALSE | 97.2784 | FALSE | 1.1815 | 2.1328 |  | FALSE | 31.9272 | FALSE
| ACN H20 Blank 24 | ACN H20 Blank 24.d | Blank |  | 2020-03-23 12:56 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 13.1431 | FALSE | 36.5338 | 36.5338 |  | 13.3344 | 91.7684 | FALSE | 94.5956 | FALSE | 1.0796 | 0.98566 | 138.5628 | FALSE | 343.5888 | FALSE
| ACN H20 Blank 25 | ACN H20 Blank 25.d | Blank |  | 2020-03-23 13:04 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0287 | 2.2895 | FALSE | 3.3615 | 3.3615 |  | 1.3014 | 75.8894 | FALSE | 163.3499 | FALSE | 1.1407 | 1.7593 | 92.1138 | FALSE | 267.5284 | FALSE
| ACN H20 Blank 26 | ACN H20 Blank 26.d | Blank |  | 2020-03-23 13:12 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 12.4731 | FALSE | 29.518 | 29.518 |  | 10.7894 | 101.414 | FALSE | 50.4798 | FALSE | 1.0593 | 1.156 | 125.6385 | FALSE |  | FALSE
| ACN H20 Blank 27 | ACN H20 Blank 27.d | Blank |  | 2020-03-23 13:20 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 11.9589 | FALSE | 15.5955 | 15.5955 |  | 5.7391 | 66.7001 | FALSE | 65.0603 | FALSE | 0.59075 | 2.0837 | 49.2676 | FALSE | 75.7702 | FALSE
| ACN H20 Blank 28 | ACN H20 Blank 28.d | Blank |  | 2020-03-23 13:28 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 9.0603 | FALSE | 5.4492 | 5.4492 |  | 2.0587 | 69.0179 | FALSE | 68.2561 | FALSE | 0.6315 | 4.4011 | 30.1953 | FALSE | 87.3337 | FALSE
| ACN H20 Blank 29 | ACN H20 Blank 29.d | Blank |  | 2020-03-23 13:36 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.1305 | 0.80364 | FALSE | 1.6451 | 1.6451 |  | 0.67873 |  | FALSE |  | FALSE | 1.1 | 1.184 |  | FALSE | 146.1956 | FALSE
| ACN H20 Blank 30 | ACN H20 Blank 30.d | Blank |  | 2020-03-23 13:43 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.1102 | 0.87903 | FALSE | 1.5064 | 1.5064 |  | 0.62841 | 217.6991 | FALSE |  | FALSE | 1.4055 | 1.3988 |  | FALSE | 206.3985 | FALSE
| ACN H20 Blank 31 | ACN H20 Blank 31.d | Blank |  | 2020-03-23 13:51 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2528 | 5.1838 | FALSE | 6.3661 | 6.3661 |  | 2.3913 | 115.5741 | FALSE | 51.1302 | FALSE | 1.2222 | 2.1678 | 54.8279 | FALSE | 212.0484 | FALSE
| ACN H20 Blank 32 | ACN H20 Blank 32.d | Blank |  | 2020-03-23 13:59 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.4157 | 8.739 | FALSE | 31.3159 | 31.3159 |  | 11.4416 | 70.5578 | FALSE | 32.5025 | FALSE | 1.2426 | 0.76379 | 142.8501 | FALSE | 289.4839 | FALSE
| ACN H20 Blank 33 | ACN H20 Blank 33.d | Blank |  | 2020-03-23 14:07 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 5.968 | FALSE | 8.6276 | 8.6276 |  | 3.2116 | 30.7976 | FALSE |  | FALSE | 0.97777 | 1.8582 | 53.0801 | FALSE |  | FALSE
| ACN H20 Blank 34 | ACN H20 Blank 34.d | Blank |  | 2020-03-23 14:11 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0083 | 1.2764 | FALSE | 5.2517 | 5.2517 |  | 1.987 | 241.9325 | FALSE | 38.5164 | FALSE | 1.1611 | 0.64237 | 27.9262 | FALSE |  | FALSE
| ACN H20 Blank 35 | ACN H20 Blank 35.d | Blank |  | 2020-03-23 14:19 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0491 | 1.518 | FALSE | 3.0531 | 3.0531 |  | 1.1895 | 86.26 | FALSE | 117.6895 | FALSE | 0.61113 | 1.2762 | 90.0919 | FALSE | 240.9166 | FALSE
| ACN H20 Blank 36 | ACN H20 Blank 36.d | Blank |  | 2020-03-23 14:27 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 0.96758 | 1.1995 | FALSE | 4.7163 | 4.7163 |  | 1.7928 |  | FALSE |  | FALSE | 0.93703 | 0.66905 |  | FALSE | 926.9445 | FALSE
| ACN H20 Blank 37 | ACN H20 Blank 37.d | Blank |  | 2020-03-23 14:35 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.1713 | 1.9225 | FALSE | 3.377 | 3.377 |  | 1.307 | 123.538 | FALSE | 55.2436 | FALSE | 0.9574 | 1.4709 | 31.0319 | FALSE | 81.4534 | FALSE
| ACN H20 Blank 62 | ACN H20 Blank 62.d | Blank |  | 2020-03-23 14:43 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 10.1178 | FALSE | 12.5888 | 12.5888 |  | 4.6485 | 61.9945 | FALSE | 98.7235 | FALSE | 1.3444 | 2.1766 | 32.8518 | FALSE | 42.8371 | FALSE
| ACN H20 Blank 63 | ACN H20 Blank 63.d | Blank |  | 2020-03-23 14:50 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 13.0237 | FALSE | 29.182 | 29.182 |  | 10.6676 | 79.8503 | FALSE | 112.5578 | FALSE | 1.1611 | 1.2209 |  | FALSE |  | FALSE
| ACN H20 Blank 64 | ACN H20 Blank 64.d | Blank |  | 2020-03-23 14:58 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 16.5676 | FALSE | 9.0278 | 9.0278 |  | 3.3568 | 74.4775 | FALSE | 57.0234 | FALSE | 1.2629 | 4.9356 | 48.534 | FALSE | 55.8606 | FALSE
| ACN H20 Blank 65 | ACN H20 Blank 65.d | Blank |  | 2020-03-23 15:06 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 34.7458 | FALSE | 94.1991 | 94.1991 |  | 34.2521 | 178.0102 | FALSE | 126.9475 | FALSE | 1.2629 | 1.0144 | 155.3873 | FALSE | 118.9712 | FALSE
| ACN H20 Blank 66 | ACN H20 Blank 66.d | Blank |  | 2020-03-23 15:10 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 24.5471 | FALSE | 82.0122 | 82.0122 |  | 29.8314 | 65.8201 | FALSE | 71.4122 | FALSE | 1.1203 | 0.82286 |  | FALSE | 1367.5829 | FALSE
| ACN H20 Blank 67 | ACN H20 Blank 67.d | Blank |  | 2020-03-23 15:14 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 16.9971 | FALSE | 90.4344 | 90.4344 |  | 32.8865 | 47.8923 | FALSE | 56.3261 | FALSE | 1.5889 | 0.51684 | 62.6204 | FALSE | 201.489 | FALSE
| ACN H20 Blank 68 | ACN H20 Blank 68.d | Blank |  | 2020-03-23 15:18 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.0898 | 4.8796 | FALSE | 6.5438 | 6.5438 |  | 2.4557 |  | FALSE | 35.6804 | FALSE | 1.1815 | 1.9871 |  | FALSE | 25.6388 | FALSE
| ACN H20 Blank 69 | ACN H20 Blank 69.d | Blank |  | 2020-03-23 15:22 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 10.2928 | FALSE | 162.4697 | 162.4697 |  | 59.0169 | 66.7729 | FALSE | 53.3689 | FALSE | 1.0389 | 0.17441 |  | FALSE |  | FALSE
| 0.1 ppb nicotine cal std | 0.1 ppb nicotine cal std.d | Cal | 1 | 2020-03-23 10:30 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren | 0.1 | 1.2731 | 27.2554 | TRUE | 0 | 0 | 0 | 0.044859 | 51.411 | FALSE | 70.8561 | FALSE | 1.2629 | 607.582 | 101.2756 | FALSE | 83.1694 | FALSE
| 0.5 ppb nicotine cal std | 0.5 ppb nicotine cal std.d | Cal | 2 | 2020-03-23 10:38 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren | 0.5 | 1.2528 | 115.483 | FALSE | 0.29304 | 0.29304 | 58.6072 | 0.18829 | 80.8325 | FALSE | 83.7463 | FALSE | 1.2629 | 613.3349 | 100.4072 | FALSE | 89.5329 | FALSE
| 1.0 ppb nicotine cal std | 1.0 ppb nicotine cal std.d | Cal | 3 | 2020-03-23 10:46 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren | 1 | 1.2731 | 200.9767 | FALSE | 0.64971 | 0.64971 | 64.9707 | 0.31767 | 110.9097 | FALSE | 86.784 | FALSE | 1.2833 | 632.6643 | 102.511 | FALSE | 87.3562 | FALSE
| 2.5 ppb nicotine cal std | 2.5 ppb nicotine cal std.d | Cal | 4 | 2020-03-23 10:54 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren | 2.5 | 1.2935 | 571.9065 | FALSE | 2.1713 | 2.1713 | 86.8512 | 0.86961 | 94.5519 | FALSE | 85.9874 | FALSE | 1.3037 | 657.6604 | 99.2807 | FALSE | 92.0647 | FALSE
| 5.0 ppb nicotine cal std 1 | 5.0 ppb nicotine cal std 1.d | Cal | 5 | 2020-03-23 11:02 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren | 5 | 1.2935 | 1233.3199 | FALSE | 4.7874 | 4.7874 | 95.7484 | 1.8186 | 86.6584 | FALSE | 80.1051 | FALSE | 1.3037 | 678.1716 | 94.6896 | FALSE | 82.5784 | FALSE
| 10 ppb nicotine cal std | 10 ppb nicotine cal std.d | Cal | 6 | 2020-03-23 14:39 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  | 10 | 1.2935 | 2327.2481 | FALSE | 10.0127 | 10.0127 | 100.1273 | 3.714 | 88.8349 | FALSE | 80.9693 | FALSE | 1.2833 | 626.6074 | 98.4819 | FALSE | 87.8983 | FALSE
| 25 ppb nicotine cal std | 25 ppb nicotine cal std.d | Cal | 7 | 2020-03-23 14:47 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  | 25 | 1.2935 | 6656.247 | FALSE | 24.1646 | 24.1646 | 96.6585 | 8.8476 | 89.3519 | FALSE | 80.9389 | FALSE | 1.2833 | 752.3261 | 97.3699 | FALSE | 87.1601 | FALSE
| 50 ppb nicotine cal std | 50 ppb nicotine cal std.d | Cal | 8 | 2020-03-23 14:54 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  | 50 | 1.2731 | 12738.8855 | FALSE | 52.3081 | 52.3081 | 104.6163 | 19.0564 | 89.8193 | FALSE | 80.6538 | FALSE | 1.2833 | 668.4821 | 99.4227 | FALSE | 89.6046 | FALSE
| 500 ppb nicotine cal std | 500 ppb nicotine cal std.d | Cal | 9 | 2020-03-23 15:02 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  | 500 | 1.2731 | 127460.3483 | FALSE | 499.8154 | 499.8154 | 99.9631 | 181.3868 | 90.0693 | FALSE | 81.3795 | FALSE | 1.2833 | 702.699 | 98.7708 | FALSE | 85.0329 | FALSE
| 0001-01-0003-S | 0001-01-0003-S.d | Sample |  | 2020-03-23 11:10 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.2731 | 9813.6639 | FALSE | 37.2679 | 37.2679 |  | 13.6007 | 89.7089 | FALSE | 81.122 | FALSE | 1.2833 | 721.5566 | 101.4905 | FALSE | 86.1452 | FALSE
| 0004-01-0003-S | 0004-01-0003-S.d | Sample |  | 2020-03-23 11:18 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m | Oren |  | 1.2731 | 9942.2685 | FALSE | 68.3813 | 68.3813 |  | 24.8869 | 85.8745 | FALSE | 82.1265 | FALSE | 1.2833 | 399.4985 | 96.2439 | FALSE | 85.1589 | FALSE
| 0005-01-0003-S | 0005-01-0003-S.d | Sample |  | 2020-03-23 11:25 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 111.8974 | FALSE | 0.46065 | 0.46065 |  | 0.24909 | 89.0714 | FALSE | 77.7245 | FALSE | 1.3037 | 449.2279 | 100.5079 | FALSE | 83.4261 | FALSE
| 0006-01-0003-S | 0006-01-0003-S.d | Sample |  | 2020-03-23 11:33 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 2382.5065 | FALSE | 17.9273 | 17.9273 |  | 6.585 | 90.1385 | FALSE | 80.1132 | FALSE | 1.3037 | 361.807 | 93.9547 | FALSE | 83.7588 | FALSE
| 0006-01-003-B | 0006-01-003-B.d | Sample |  | 2020-03-23 11:41 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 23.9589 | FALSE | 0 | 0 |  | 0.063339 | 107.257 | FALSE | 72.0186 | FALSE | 1.3037 | 378.2625 | 90.3863 | FALSE | 88.4226 | FALSE
| 0007-01-0003-S | 0007-01-0003-S.d | Sample |  | 2020-03-23 11:49 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 13263.5079 | FALSE | 84.2335 | 84.2335 |  | 30.6372 | 90.3844 | FALSE | 84.2212 | FALSE | 1.2629 | 432.9223 | 96.6188 | FALSE | 82.2156 | FALSE
| 0008-01-0003-S | 0008-01-0003-S.d | Sample |  | 2020-03-23 11:57 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 2922.9943 | FALSE | 16.9536 | 16.9536 |  | 6.2318 | 91.5546 | FALSE | 81.7418 | FALSE | 1.3037 | 469.0444 | 94.0794 | FALSE | 85.5914 | FALSE
| 0009-01-0003-S | 0009-01-0003-S.d | Sample |  | 2020-03-23 12:05 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 618.1525 | FALSE | 5.5102 | 5.5102 |  | 2.0808 | 98.1279 | FALSE | 87.1125 | FALSE | 1.2833 | 297.0762 | 102.6421 | FALSE | 89.1504 | FALSE
| 0010-01-0003-S | 0010-01-0003-S.d | Sample |  | 2020-03-23 12:13 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 34.2816 | FALSE | 0.060649 | 0.060649 |  | 0.10399 | 93.5078 | FALSE | 73.3074 | FALSE | 1.2833 | 329.6623 | 90.9273 | FALSE | 73.7956 | FALSE
| 0011-01-0003-S | 0011-01-0003-S.d | Sample |  | 2020-03-23 12:21 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 1663.4381 | FALSE | 7.9578 | 7.9578 |  | 2.9686 | 90.4582 | FALSE | 80.4008 | FALSE | 1.3037 | 560.3369 | 99.0899 | FALSE | 90.418 | FALSE
| 0012-01-0003-S | 0012-01-0003-S.d | Sample |  | 2020-03-23 12:29 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 317.043 | FALSE | 2.1911 | 2.1911 |  | 0.8768 | 89.9535 | FALSE | 81.6245 | FALSE | 1.2833 | 361.5894 | 100.6451 | FALSE | 89.8328 | FALSE
| 0013-01-0003-S | 0013-01-0003-S.d | Sample |  | 2020-03-23 12:36 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 151.4955 | FALSE | 0.58399 | 0.58399 |  | 0.29383 | 83.9681 | FALSE | 79.6091 | FALSE | 1.2833 | 515.592 | 99.337 | FALSE | 92.1629 | FALSE
| 0013-01-003-B | 0013-01-003-B.d | Sample |  | 2020-03-23 12:44 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2935 | 29.3291 | FALSE | 0 | 0 |  | 0.044587 | 87.0353 | FALSE | 60.3312 | FALSE | 1.3037 | 657.7952 | 97.3328 | FALSE | 84.5555 | FALSE
| 0015-01-0003-S | 0015-01-0003-S.d | Sample |  | 2020-03-23 12:52 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 714.2069 | FALSE | 4.0018 | 4.0018 |  | 1.5336 | 87.897 | FALSE | 84.158 | FALSE | 1.2833 | 465.6996 | 95.4022 | FALSE | 84.3291 | FALSE
| 0016-01-0003-S | 0016-01-0003-S.d | Sample |  | 2020-03-23 13:00 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 7817.5085 | FALSE | 42.6514 | 42.6514 |  | 15.5535 | 90.3353 | FALSE | 81.8654 | FALSE | 1.2833 | 502.6197 | 92.6697 | FALSE | 83.8608 | FALSE
| 0017-01-0003-S | 0017-01-0003-S.d | Sample |  | 2020-03-23 13:08 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 2223.2272 | FALSE | 14.7842 | 14.7842 |  | 5.4448 | 87.0208 | FALSE | 80.3286 | FALSE | 1.2833 | 408.3175 | 93.9858 | FALSE | 84.1357 | FALSE
| 0018-01-0003-S | 0018-01-0003-S.d | Sample |  | 2020-03-23 13:16 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 6111.9284 | FALSE | 66.1248 | 66.1248 |  | 24.0683 | 90.9361 | FALSE | 81.895 | FALSE | 1.2833 | 253.9407 | 97.6783 | FALSE | 87.3328 | FALSE
| 0019-01-0003-S | 0019-01-0003-S.d | Sample |  | 2020-03-23 13:24 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 24.2139 | FALSE | 0 | 0 |  | 0.059855 | 100.0877 | FALSE | 63.0289 | FALSE | 1.2833 | 404.5447 | 100.1635 | FALSE | 94.4204 | FALSE
| 0021-01-0003-S | 0021-01-0003-S.d | Sample |  | 2020-03-23 13:32 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 12547.2807 | FALSE | 78.0812 | 78.0812 |  | 28.4054 | 88.507 | FALSE | 81.4913 | FALSE | 1.2833 | 441.721 | 99.6817 | FALSE | 85.9913 | FALSE
| 0022-01-0003-S | 0022-01-0003-S.d | Sample |  | 2020-03-23 13:39 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 217.9998 | FALSE | 1.3127 | 1.3127 |  | 0.55817 | 94.8271 | FALSE | 84.6628 | FALSE | 1.2833 | 390.5636 | 95.6341 | FALSE | 76.5501 | FALSE
| 0023-01-0003-S | 0023-01-0003-S.d | Sample |  | 2020-03-23 13:47 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 12815.6138 | FALSE | 58.604 | 58.604 |  | 21.3402 | 88.7251 | FALSE | 78.4557 | FALSE | 1.2833 | 600.5379 | 101.684 | FALSE | 90.8556 | FALSE
| 0024-01-0003-S | 0024-01-0003-S.d | Sample |  | 2020-03-23 13:55 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 29.9353 | TRUE | 0 | 0 |  | 0.053113 | 92.0102 | FALSE | 85.3925 | FALSE | 1.2833 | 563.6179 | 100.7377 | FALSE | 90.0481 | FALSE
| 0025-01-0003-S | 0025-01-0003-S.d | Sample |  | 2020-03-23 14:03 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 244.1255 | FALSE | 2.0338 | 2.0338 |  | 0.81975 | 108.9261 | FALSE | 90.8984 | FALSE | 1.2833 | 297.8048 | 110.5523 | FALSE | 93.5706 | FALSE
| 0026-01-0003-S | 0026-01-0003-S.d | Sample |  | 2020-03-23 14:15 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2731 | 27.5008 | FALSE | 0 | 0 |  | 0.063647 | 59.5749 | FALSE | 91.6918 | FALSE | 1.2833 | 432.0809 | 88.9027 | FALSE | 79.7927 | FALSE
| 0028-01-0003-S | 0028-01-0003-S.d | Sample |  | 2020-03-23 14:23 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2528 | 2256.532 | FALSE | 18.2425 | 18.2425 |  | 6.6993 | 85.9574 | FALSE | 82.772 | FALSE | 1.2629 | 336.829 | 99.397 | FALSE | 87.3931 | FALSE
| 0020-01-003-S | 0020-01-003-S.d | Sample |  | 2020-03-23 14:31 | kw_nicotineMRMtest_iso_ND.m | Third hand smoke nicotine quant expanded RT window 20191121.m |  |  | 1.2528 | 252.3302 | FALSE | 1.6169 | 1.6169 |  | 0.66852 | 92.9731 | FALSE | 80.5038 | FALSE | 1.2629 | 377.4475 | 93.2743 | FALSE | 81.5899 | FALSE

## ValueList_Helper (hidden)
Sample
Blank
Cal
QC
CC
DoubleBlank
MatrixSpike
MatrixSpikeDup
MatrixBlank
TuneCheck
ResponseCheck